## Potential savings
Country | Housing data (including district heating) | [9 empty] | Homes with potential for TRV upgrade |  |  |  |  | TRVs estimate |  |  | TRV savings |  | Energy Use |  | EU annual savings potential (GWh) |  |  | EU annual savings potential (Mtoe) |  |  | EU annual CO2 reduction potential (Mt CO2) |  |  |  | EU annual cost saving (€million) |  |  |  | Methods of TRV upgrade |  |  |  |  | Breakdown of TRV replacements over 5 year period (homes without TRVs) | [5 empty] | Breakdown of TRV replacements over 5 year period (homes with TRVs over 20 years old) | [6 empty] | Payback (all installations) |  |  | Return on investment based on 15 year lifetime (all installations)
| Number of households (2015) | % of households with district heating | % of households with conventional gas boilers | % of households with condensing gas boilers | % of households with oil boilers | % of households with solid fuel boilers | % of households with electric boilers | % of households with heat pumps | Total % households with a boiler system | Number of houses with wet central heating | % of homes that have TRVs | % of homes with TRVs older than 20 years old | % of homes with no TRVs | Number of homes with no TRVs | Number of homes with TRVs over 20 years old | Average number of radiators per dwelling | Number of radiators with MRV only | Number of radiators with TRVs over 20 years old | Energy saving from replacing MRVs with TRVs | Energy saving from replacing TRVs over 20 years old with new ones | Average annual energy used per dwelling for heating (kWh) | Total energy used for heating homes (GWh) | Potential energy saving from replacing MRVs with TRVs (GWh) | Potential energy saving from replacing TRVs over 20 years old with new ones (GWh) | Total potential energy saving from TRV upgrades in EU homes (GWh) | Potential energy saving from replacing MRVs with TRVs (Mtoe) | Potential energy saving from replacing TRVs over 20 years old with new ones (Mtoe) | Total potential energy saving from TRV upgrades in EU homes (Mtoe) | CO2 emissions from natural gas (kg CO2 per kWh gas) | Potential saving in CO2 emissions from replacing MRVs with TRVs (GWh) | Potential saving in CO2 emissions from replacing TRVs over 20 years old with new ones (GWh) | Total potential saving in CO2 emissions from TRV upgrades in EU homes (million tonnes CO2) | Heating fuel price (gas) per KWh | Potential cost saving from replacing MRVs (million €) | Potential cost saving from replacing TRVs over 20 years old (million €) | Total potential cost saving from TRV upgrades in EU homes (million €) | A. Replacement of TRV head only | B. Replacement of head and insert without draining the system | C. Replacement of head and valve without draining down system | D. Replacement of head and valve plus system drain down | E. Replacement of head and valve on system already drained down (e.g. with boiler replacement) | Estimated annual replacement rate of boilers | Upgrade type C | Upgrade type D | Upgrade type E | Average installed cost | Total installed cost for all homes without TRVs | Upgrade type A | Upgrade type B | Upgrade type C | Upgrade type D | Upgrade type E | Average installed cost | Total installed cost for all homes with TRVs over 15 years old | Replacing MRVs with TRVs (years) | Replacing TRVs over 20 years old (years) | Replacing both MRVs and TRVs over 20 years old (years) | Replacing MRVs with TRVs (total saving compared to initial cost) | Replacing TRVs over 20 years old (total saving compared to initial cost) | Replacing both MRVs and TRVs over 20 years old (total saving compared to initial cost)
Austria | 3815900 | 18.51% | 29% | 2% | 26.94% |  |  | 0.985% | 77.43% | 2954730.1014 | 47% | 16.45% | 53% | 1566006.9537 | 486053.1017 | 7 | 10962048.6762 | 3402371.7118 | 18% | 7% | 15463.0936 | 59005.619 | 4358.7562 | 526.1119 | 4884.8681 | 0.37479 | 0.045237 | 0.42002 | 0.1836 | 0.80027 | 0.096594 | 0.89686 | 0.071 | 309.4717 | 37.3539 | 346.8256 | 164.578 | 210.2941 | 256.0102 | 283.4399 | 256.0102 | 5% | 5% | 70% | 25% | 275.211 | 430982335.7402 | 80% | 5% | 5% | 5% | 5% | 181.9501 | 88437424.0057 | 1.3926 | 2.3676 | 1.4976 | 1077% | 633.6% | 1002%
Belgium | 4699300 |  | 49.41% | 0% | 40.09% |  |  |  | 89.5% | 4206038.4664 | 71% | 24.85% | 29% | 1219751.1553 | 1045200.5589 | 7 | 8538258.0868 | 7316403.9123 | 18% | 7% | 16637.8218 | 78186.1159 | 3652.9204 | 1217.2902 | 4870.2107 | 0.31409 | 0.10467 | 0.41876 | 0.1836 | 0.67068 | 0.22349 | 0.89417 | 0.062 | 226.4811 | 75.472 | 301.9531 | 180 | 230 | 280 | 310 | 280 | 5% | 70% | 5% | 25% | 281.5 | 343359950.2041 | 80% | 5% | 5% | 5% | 5% | 199 | 207994911.2209 | 1.5161 | 2.7559 | 1.826 | 989.4% | 544.3% | 821.5%
Bulgaria | 2939800 | 22.53% | 0.68% | 0% | 0.2061% | 10% |  | 0.075% | 33.49% | 984587.2224 | 65% | 22.75% | 35% | 344605.5278 | 223993.5931 | 7 | 2412238.6948 | 1567955.1516 | 18% | 7% | 5828.3823 | 17134.2784 | 361.5287 | 91.3864 | 452.9151 | 0.031086 | 0.0078578 | 0.038944 | 0.1836 | 0.066377 | 0.016779 | 0.083155 | 0.039 | 14.0996 | 3.5641 | 17.6637 | 68.25 | 159.25 | 182 | 209.3 | 136.5 | 5% | 70% | 5% | 25% | 171.99 | 59268704.732 | 80% | 5% | 5% | 5% | 5% | 88.9525 | 19924790.0895 | 4.2036 | 5.5905 | 4.4834 | 356.8% | 268.3% | 334.6%
Croatia | 1494100 | 10% | 11% | 0% | 19% |  |  |  | 40% | 597640 | 47% | 16% | 53% | 316749.2 | 95622.4 | 7 | 2217244.4 | 669356.8 | 18% | 7% | 7988.395 | 11935.4609 | 455.4572 | 53.4709 | 508.9281 | 0.039162 | 0.0045977 | 0.04376 | 0.1836 | 0.083622 | 0.0098173 | 0.093439 | 0.046 | 20.951 | 2.4597 | 23.4107 | 60.6762 | 93.4854 | 140.8719 | 157.6423 | 140.8719 | 5% | 70% | 5% | 25% | 141.7104 | 44886658.7625 | 80% | 5% | 5% | 5% | 5% | 75.1846 | 7189329.2219 | 2.1425 | 2.9229 | 2.2245 | 700.1% | 513.2% | 674.3%
Cyprus | 290000 | 0% | 0% | 0% | 29.3% |  |  |  | 29.3% | 84970 | 15% | 5% | 85% | 72224.5 | 4248.5 | 7 | 505571.5 | 29739.5 | 18% | 7% | 4565.0946 | 1323.8774 | 59.3481 | 1.3576 | 60.7057 | 0.005103 | 0.00011674 | 0.0052198 | 0.1836 | 0.010896 | 0.00024926 | 0.011146 | 0.075 | 4.4511 | 0.10182 | 4.5529 | 70.3329 | 108.3637 | 163.2918 | 182.7313 | 163.2918 | 5% | 70% | 5% | 25% | 164.2638 | 11863870.1034 | 80% | 5% | 5% | 5% | 5% | 87.1503 | 370257.9919 | 2.6654 | 3.6363 | 2.6871 | 562.8% | 412.5% | 558.2%
Czech Republic | 4644200 | 28.51% | 27.06% | 11.6% | 0.326% | 10% | 0.2369% | 0.94% | 78.67% | 3653729.7581 | 65% | 22.75% | 35% | 1278805.4153 | 831223.52 | 7 | 8951637.9074 | 5818564.6398 | 18% | 7% | 12494.9255 | 58028.933 | 2876.1441 | 727.0253 | 3603.1694 | 0.2473 | 0.062513 | 0.30982 | 0.1836 | 0.52806 | 0.13348 | 0.66154 | 0.058 | 166.8164 | 42.1675 | 208.9838 | 118.314 | 215.1163 | 215.1163 | 247.3837 | 215.1163 | 5% | 70% | 5% | 25% | 216.7297 | 277155051.5726 | 80% | 5% | 5% | 5% | 5% | 139.2878 | 115779287.6731 | 1.6614 | 2.7457 | 1.8802 | 902.8% | 546.3% | 797.8%
Denmark | 2373100 | 57.56% | 8.48% | 8% | 15.33% |  |  | 0.485% | 89.85% | 2132262.6934 | 95% | 33.25% | 5% | 106613.1347 | 708977.3455 | 7 | 746291.9427 | 4962841.4188 | 18% | 7% | 13330.2497 | 31634.0156 | 255.8123 | 661.5592 | 917.3715 | 0.021996 | 0.056884 | 0.07888 | 0.1836 | 0.046967 | 0.12146 | 0.16843 | 0.076 | 19.4417 | 50.2785 | 69.7202 | 156.861 | 299.4619 | 484.843 | 578.9596 | 412.1166 | 5% | 5% | 70% | 25% | 532.543 | 56776083.8342 | 80% | 5% | 5% | 5% | 5% | 214.2578 | 151903960.0054 | 2.9203 | 3.0213 | 2.9931 | 513.6% | 496.5% | 501.2%
Estonia | 571600 | 34.65% | 6% | 0% | 0.9901% |  | 0.5248% |  | 42.17% | 241034.6139 | 47% | 16% | 53% | 127748.3453 | 38565.5382 | 7 | 894238.4174 | 269958.7675 | 18% | 7% | 11387.476 | 6509.0813 | 261.8516 | 30.7415 | 292.5931 | 0.022515 | 0.0026433 | 0.025158 | 0.1836 | 0.048076 | 0.0056441 | 0.05372 | 0.038 | 9.9504 | 1.1682 | 11.1185 | 98.149 | 151.2206 | 203.2181 | 255 | 185.4916 | 5% | 70% | 5% | 25% | 201.3755 | 25725393.0872 | 80% | 5% | 5% | 5% | 5% | 118.2657 | 4560981.6218 | 2.5854 | 3.9044 | 2.724 | 580.2% | 384.2% | 550.7%
Finland | 2622500 | 39% | 0% | 0% | 20.2% | 4.9% | 0.2288% |  | 64.33% | 1687118.9836 | 90% | 31.5% | 10% | 168711.8984 | 531442.4798 | 7 | 1180983.2885 | 3720097.3588 | 18% | 7% | 16941.8534 | 44430.0106 | 514.4926 | 630.2534 | 1144.746 | 0.044238 | 0.054192 | 0.09843 | 0.1836 | 0.094461 | 0.11571 | 0.21018 | 0.117 | 60.1956 | 73.7397 | 133.9353 | 136.3901 | 260.3812 | 421.5695 | 503.4036 | 358.3341 | 5% | 5% | 70% | 25% | 463.0445 | 78121117.7544 | 80% | 5% | 5% | 5% | 5% | 186.2965 | 99005887.051 | 1.2978 | 1.3426 | 1.3225 | 1156% | 1117% | 1134%
France | 28920400 | 4.124% | 36.53% | 5.111% | 18.62% |  |  | 0.345% | 64.73% | 18720386.0258 | 71% | 24.85% | 29% | 5428911.9475 | 4652015.9274 | 7 | 38002383.6323 | 32564111.4918 | 18% | 7% | 12432.0998 | 359541.2988 | 12148.6995 | 4048.4028 | 16197.1024 | 1.0446 | 0.3481 | 1.3927 | 0.1836 | 2.2305 | 0.74329 | 2.9738 | 0.073 | 886.8551 | 295.5334 | 1182.3885 | 160 | 295 | 345 | 400 | 340 | 5% | 70% | 5% | 25% | 346.5 | 1881117989.8004 | 80% | 5% | 5% | 5% | 5% | 197 | 916447137.699 | 2.1211 | 3.101 | 2.366 | 707.2% | 483.7% | 634%
Germany | 40257800 | 8.9% | 48.24% | 0.02784% | 27.7% | 2.1% |  | 0.37% | 87.34% | 35160290.9386 | 95% | 33.25% | 5% | 1758014.5469 | 11690796.7371 | 7 | 12306101.8285 | 81835577.1597 | 18% | 7% | 13740.3285 | 553155.3948 | 4348.0255 | 11244.4771 | 15592.5026 | 0.37386 | 0.96685 | 1.3407 | 0.1836 | 0.7983 | 2.0645 | 2.8628 | 0.068 | 295.6657 | 764.6244 | 1060.2902 | 110 | 210 | 340 | 406 | 289 | 5% | 5% | 70% | 25% | 373.45 | 656530532.5516 | 80% | 5% | 5% | 5% | 5% | 150.25 | 1756542209.7484 | 2.2205 | 2.2973 | 2.2759 | 675.5% | 653% | 659.1%
Greece | 4376100 | 1.245% | 0.65% | 0% | 55.7% |  |  | 0.005% | 57.6% | 2520639.1465 | 15% | 5.25% | 85% | 2142543.2745 | 132333.5552 | 7 | 14997802.9218 | 926334.8863 | 18% | 7% | 10788.9772 | 47213.6432 | 4160.8531 | 99.9421 | 4260.7952 | 0.35777 | 0.0085935 | 0.36636 | 0.1836 | 0.76393 | 0.018349 | 0.78228 | 0.075 | 312.064 | 7.4957 | 319.5596 | 68.5625 | 105.636 | 159.1815 | 178.1317 | 159.1815 | 5% | 70% | 5% | 25% | 160.129 | 343083319.6342 | 80% | 5% | 5% | 5% | 5% | 84.9566 | 11242605.2262 | 1.0994 | 1.4999 | 1.1088 | 1364% | 1000% | 1353%
Hungary | 4151600 | 17.25% | 60.54% | 0% | 0.1378% | 3.6% |  |  | 81.53% | 3384989.2798 | 47% | 16.45% | 53% | 1794044.3183 | 556830.7365 | 7 | 12558310.2281 | 3897815.1557 | 18% | 7% | 11835.1334 | 49134.7399 | 3821.8957 | 461.3116 | 4283.2073 | 0.32862 | 0.039666 | 0.36829 | 0.1836 | 0.7017 | 0.084697 | 0.7864 | 0.035 | 133.7663 | 16.1459 | 149.9123 | 100 | 210 | 220 | 430 | 220 | 5% | 70% | 5% | 25% | 230.5 | 413527215.3668 | 80% | 5% | 5% | 5% | 5% | 134 | 74615318.6946 | 3.0914 | 4.6213 | 3.2562 | 485.2% | 324.6% | 460.7%
Ireland | 1712000 | 0% | 34.36% | 0% | 43.34% |  | 2.161% |  | 79.86% | 1367278.881 | 66% | 23.1% | 34% | 464874.8195 | 315841.4215 | 7 | 3254123.7367 | 2210889.9505 | 18% | 7% | 15834.8343 | 27109.2363 | 1325.0188 | 350.0908 | 1675.1096 | 0.11393 | 0.030102 | 0.14403 | 0.1836 | 0.24327 | 0.064277 | 0.30755 | 0.072 | 95.4014 | 25.2065 | 120.6079 | 156.4117 | 240.9873 | 323.8512 | 406.3716 | 243.823 | 5% | 70% | 5% | 25% | 307.9702 | 143167573.1455 | 80% | 5% | 5% | 5% | 5% | 185.881 | 58708915.5544 | 1.5007 | 2.3291 | 1.6738 | 999.5% | 644% | 896.2%
Italy | 25788600 | 19.75% | 49% | 0% | 23.85% |  |  |  | 92.61% | 23882609.7224 | 20% | 7% | 80% | 19106087.7779 | 1671782.6806 | 7 | 133742614.4455 | 11702478.764 | 18% | 7% | 9379.7931 | 241891.7318 | 32258.007 | 1097.6683 | 33355.6753 | 2.7737 | 0.094382 | 2.8681 | 0.1836 | 5.9226 | 0.20153 | 6.1241 | 0.091 | 2935.4786 | 99.8878 | 3035.3665 | 90.4511 | 139.3602 | 210 | 235 | 210 | 5% | 70% | 5% | 25% | 211.25 | 4036161043.0875 | 80% | 5% | 5% | 5% | 5% | 112.0789 | 187371493.7641 | 1.375 | 1.8758 | 1.3914 | 1091% | 799.7% | 1078%
Latvia | 832700 | 65% | 5.998% | 0% | 0.4068% |  |  |  | 71.4% | 594583.4528 | 47% | 16.45% | 53% | 315129.23 | 97808.978 | 7 | 2205904.61 | 684662.8459 | 18% | 7% | 15095.3563 | 12569.9032 | 856.2578 | 103.3523 | 959.6101 | 0.073625 | 0.0088867 | 0.082512 | 0.1836 | 0.15721 | 0.018975 | 0.17618 | 0.049 | 41.9566 | 5.0643 | 47.0209 | 75 | 175 | 200 | 270 | 150 | 5% | 70% | 5% | 25% | 191 | 60189682.9294 | 80% | 5% | 5% | 5% | 5% | 99.75 | 9756445.5545 | 1.4346 | 1.9265 | 1.4876 | 1046% | 778.6% | 1008%
Lithuania | 1331500 | 57.63% | 11.94% | 0% | 0.02104% |  |  |  | 69.58% | 926523.0639 | 47% | 16.45% | 53% | 491057.2238 | 152413.044 | 7 | 3437400.5669 | 1066891.308 | 18% | 7% | 8717.1328 | 11606.8624 | 770.51 | 93.0023 | 863.5123 | 0.066252 | 0.0079968 | 0.074249 | 0.1836 | 0.14147 | 0.017075 | 0.15854 | 0.044 | 33.9024 | 4.0921 | 37.9945 | 130 | 160.116 | 200 | 270 | 150 | 5% | 70% | 5% | 25% | 191 | 93791929.7548 | 80% | 5% | 5% | 5% | 5% | 143.0058 | 21795949.0637 | 2.7665 | 5.3263 | 3.0422 | 542.2% | 281.6% | 493.1%
Luxembourg | 229100 |  | 44.11% | 0% | 49.99% |  |  |  | 94.11% | 215600.911 | 50% | 17.5% | 50% | 107800.4555 | 37730.1594 | 7 | 754603.1884 | 264111.1159 | 18% | 7% | 32003.3276 | 7331.9624 | 620.9952 | 84.5243 | 705.5195 | 0.053396 | 0.0072678 | 0.060664 | 0.1836 | 0.11401 | 0.015519 | 0.12953 | 0.048 | 29.8078 | 4.0572 | 33.8649 | 180 | 230 | 280 | 310 | 280 | 5% | 70% | 5% | 25% | 281.5 | 30345828.2183 | 80% | 5% | 5% | 5% | 5% | 199 | 7508301.7244 | 1.0181 | 1.8506 | 1.1178 | 1473% | 810.5% | 1342%
Malta | 151300 | 0% | 0% | 0% | 29.3% |  |  |  | 29.3% | 44330.9 | 15% | 5% | 85% | 37681.265 | 2216.545 | 7 | 263768.855 | 15515.815 | 18% | 7% | 2656.0413 | 401.8591 | 18.0149 | 0.41211 | 18.427 | 0.001549 | 3.5435e-05 | 0.0015844 | 0.1836 | 0.0033075 | 7.5663e-05 | 0.0033832 | 0.075 | 1.3511 | 0.030908 | 1.382 | 85.7726 | 132.1519 | 199.1379 | 222.8448 | 199.1379 | 5% | 70% | 5% | 25% | 200.3233 | 7548434.4434 | 80% | 5% | 5% | 5% | 5% | 106.2817 | 235578.117 | 5.5868 | 7.6219 | 5.6323 | 268.5% | 196.8% | 266.3%
Netherlands | 7621700 | 11.39% | 22.54% | 63% | 0.1268% |  |  | 0.255% | 97.3% | 7416135.0293 | 30% | 10.5% | 70% | 5191294.5205 | 778694.1781 | 7 | 36339061.6435 | 5450859.2465 | 18% | 7% | 11687.7129 | 89080.2417 | 10921.3848 | 637.0808 | 11558.4656 | 0.93907 | 0.054779 | 0.99385 | 0.1836 | 2.0052 | 0.11697 | 2.1221 | 0.077 | 840.9466 | 49.0552 | 890.0019 | 110 | 230 | 260 | 500 | 230 | 5% | 70% | 5% | 25% | 264.5 | 1373097400.673 | 80% | 5% | 5% | 5% | 5% | 149 | 116025432.5332 | 1.6328 | 2.3652 | 1.6732 | 918.7% | 634.2% | 896.5%
Poland | 14113400 | 40% | 10% | 0% | 0.56% | 35.82% |  | 0.015% | 86.39% | 12193271.93 | 47% | 16.45% | 53% | 6462434.1229 | 2005793.2325 | 7 | 45237038.8603 | 14040552.6274 | 18% | 7% | 11791.2721 | 166414.9391 | 13716.0574 | 1655.5598 | 15371.6172 | 1.1794 | 0.14235 | 1.3217 | 0.1836 | 2.5183 | 0.30396 | 2.8222 | 0.05 | 685.8029 | 82.778 | 768.5809 | 110 | 200 | 200 | 230 | 200 | 5% | 70% | 5% | 25% | 201.5 | 1302180475.7643 | 80% | 5% | 5% | 5% | 5% | 129.5 | 259750223.6068 | 1.8988 | 3.1379 | 2.0322 | 790% | 478% | 738.1%
Portugal | 4082700 | 0% | 14.02% | 0% | 0.5812% |  |  |  | 14.6% | 596040.7135 | 20% | 7% | 80% | 476832.5708 | 41722.8499 | 7 | 3337827.9955 | 292059.9496 | 18% | 7% | 4320.201 | 17638.0847 | 370.8023 | 12.6176 | 383.4198 | 0.031883 | 0.0010849 | 0.032968 | 0.1836 | 0.068079 | 0.0023166 | 0.070396 | 0.098 | 36.3386 | 1.2365 | 37.5751 | 124.1321 | 192.4525 | 258.6275 | 324.5283 | 206.8868 | 5% | 70% | 5% | 25% | 248.9874 | 118725293.7366 | 80% | 5% | 5% | 5% | 5% | 148.4304 | 6192939.909 | 3.2672 | 5.0084 | 3.3245 | 459.1% | 299.5% | 451.2%
Romania | 7469700 | 22.89% | 28.01% | 0% | 0.09508% |  |  |  | 50.99% | 3808917.9083 | 65% | 22.75% | 35% | 1333121.2679 | 866528.8241 | 7 | 9331848.8752 | 6065701.7689 | 18% | 7% | 6441.331 | 48114.8103 | 1545.6736 | 390.7119 | 1936.3855 | 0.1329 | 0.033595 | 0.1665 | 0.1836 | 0.28379 | 0.071735 | 0.35552 | 0.034 | 52.5529 | 13.2842 | 65.8371 | 75 | 175 | 200 | 230 | 150 | 5% | 70% | 5% | 25% | 189 | 251959919.6313 | 80% | 5% | 5% | 5% | 5% | 97.75 | 84703192.5586 | 4.7944 | 6.3762 | 5.1136 | 312.9% | 235.2% | 293.3%
Slovakia | 1846900 | 26.26% | 43.13% | 11.46% | 0.1299% |  |  | 0.465% | 81.45% | 1504336.7092 | 65% | 22.75% | 35% | 526517.8482 | 342236.6013 | 7 | 3685624.9375 | 2395656.2094 | 18% | 7% | 10488.1967 | 19370.6505 | 994.0001 | 251.2611 | 1245.2612 | 0.085469 | 0.021605 | 0.10707 | 0.1836 | 0.1825 | 0.046132 | 0.22863 | 0.05 | 49.7 | 12.5631 | 62.2631 | 100 | 200 | 295 | 340 | 295 | 5% | 70% | 5% | 25% | 297.25 | 156507430.3837 | 80% | 5% | 5% | 5% | 5% | 136.5 | 46715296.0834 | 3.149 | 3.7185 | 3.2639 | 476.3% | 403.4% | 459.6%
Slovenia | 882700 | 9% | 11% | 0% | 19% |  |  |  | 39% | 344253 | 47% | 16.45% | 53% | 182454.09 | 56629.6185 | 7 | 1277178.63 | 396407.3295 | 18% | 7% | 10629.4397 | 9382.6064 | 349.0893 | 42.1359 | 391.2251 | 0.030016 | 0.003623 | 0.033639 | 0.1836 | 0.064093 | 0.0077361 | 0.071829 | 0.061 | 21.2944 | 2.5703 | 23.8647 | 50.8586 | 78.3591 | 118.0783 | 132.1352 | 118.0783 | 5% | 70% | 5% | 25% | 118.7811 | 21672104.5871 | 80% | 5% | 5% | 5% | 5% | 63.0194 | 3568766.2273 | 1.0177 | 1.3885 | 1.0577 | 1474% | 1080% | 1418%
Spain | 18376000 | 0% | 44.74% | 0% | 16.21% |  |  | 4.245% | 65.19% | 11978611.7666 | 30% | 10.5% | 70% | 8385028.2366 | 1257754.2355 | 7 | 58695197.6564 | 8804279.6485 | 18% | 7% | 4793.055 | 88077.179 | 7234.1823 | 421.994 | 7656.1763 | 0.62203 | 0.036285 | 0.65831 | 0.1836 | 1.3282 | 0.077478 | 1.4057 | 0.093 | 672.779 | 39.2454 | 712.0244 | 153 | 237.2088 | 318.7735 | 400 | 255 | 5% | 70% | 5% | 25% | 306.8914 | 2573293264.7201 | 80% | 5% | 5% | 5% | 5% | 182.9491 | 230105024.8739 | 3.8249 | 5.8632 | 3.9372 | 392.2% | 255.8% | 381%
Sweden | 5099800 | 52% | 0.5149% | 0% | 4.873% |  | 9.255% | 5.99% | 72.63% | 3704129.832 | 60% | 21% | 40% | 1481651.9328 | 777867.2647 | 7 | 10371563.5296 | 5445070.853 | 18% | 7% | 12653.4048 | 64529.8337 | 3374.6295 | 688.9869 | 4063.6164 | 0.29017 | 0.059242 | 0.34941 | 0.1836 | 0.61958 | 0.1265 | 0.74608 | 0.11714 | 395.3141 | 80.71 | 476.0241 | 147.2422 | 281.0987 | 455.1121 | 543.4574 | 386.8453 | 5% | 5% | 70% | 25% | 499.8871 | 740658699.1904 | 80% | 5% | 5% | 5% | 5% | 201.1194 | 156444193.374 | 1.8736 | 1.9384 | 1.8846 | 800.6% | 773.9% | 795.9%
United Kingdom | 28218500 | 0.8996% | 60.1% | 22% | 8.182% |  | 2.08% | 0.165% | 93.43% | 26363657.3309 | 66% | 23.1% | 34% | 8963643.4925 | 6090004.8434 | 7 | 62745504.4475 | 42630033.904 | 18% | 7% | 11224.9398 | 316750.9642 | 18110.9446 | 4785.1956 | 22896.1402 | 1.5573 | 0.41145 | 1.9687 | 0.1836 | 3.3252 | 0.87856 | 4.2037 | 0.067 | 1213.4333 | 320.6081 | 1534.0414 | 144.3368 | 222.3833 | 298.8501 | 375 | 225 | 5% | 70% | 5% | 25% | 284.1951 | 2547423433.1795 | 80% | 5% | 5% | 5% | 5% | 171.5311 | 1044625287.2347 | 2.0994 | 3.2583 | 2.3416 | 714.5% | 460.4% | 640.6%
TOTAL | 218913000 | [8 empty] | 171268698.3806 |  |  |  | 69850339.0718 | 35492328.4701 |  | 488952373.5026 | 248446299.2904 |  |  | 321149.8693 | 2437503.3336 | 129741.3527 | 30407.9238 | 160149.2764 | 11.1557 | 2.6146 | 13.7704 |  | 23.8205 | 5.5829 | 29.4034 |  | 9566.2695 | 2110.4943 | 11676.7638 | [10 empty] | 18079120736.5888 | [6 empty] | 5687521140.4282 | 1.8899 | 2.6949 | 2.0354 | 793.7% | 556.6% | 737%
[14 empty] | 0.40784 |  |  | TOTAL | 737398672.793
Mtoe
[27 empty] | Total EU household energy used for heating and hot water | 192.5
[27 empty] | % saving TRVs | 7.153%
Note on B2: Author: SOURCE: Eurostat data for total number of households in 2015, updated 30-05-2016 http://appsso.eurostat.ec.europa.eu/nui/show.do?dataset=lfst_hhnhtych&lang=en
Note on C2: Author: SOURCE: http://www.entranze.enerdata.eu
Note on D2: Author: SOURCE: ENTRANZE project. Project coordinator was the Energy Economics Group from the Vienna University of Technology. Project partners were: National Consumer Research Centre (FI), Fraunhofer Society for the advancement of applied research (DE), National Renewable Energy Certre (ES), end use Efficiency Research Group, Politecnico di Milano (IT), Öko-Institut e.V. (DE), Sofia Energy Agency (BG), Buildings Performance Institute Europe (BE), Enerdata, with support of ADEME (FR), SEVEn, The Energy Efficiency Center (CZ). http://www.entranze.enerdata.eu/share-of-dwellings-with-gas-systems.html
Note on E2: Author: SOURCE: ENTRANZE project http://www.entranze.enerdata.eu/share-of-dwellings-with-gas-systems.html
Note on F2: Author: SOURCE: http://www.entranze.enerdata.eu
Note on H2: Author: SOURCE: Ecodesign preparatory study for space heaters (2007) - data from BRG Consult for 2004
Note on I2: Author: SOURCE: Entranze project http://www.entranze.enerdata.eu/share-of-dwellings-with-electric-systems.html (Total halved to account for high proportion of underfloor heating with these systems)
Note on L2: Author: SOURCE: VHK ecodesign preparatory study, evidence review and industry analysis.
Note on M2: Author: Based on work done by Peter Luebke and Les Alexander in 2011 - assume 35% of TRVs over 15 years old
Note on Q2: Author: SOURCE: Industry estimated average of numbers of TRVs in homes
Note on T2: Author: SOURCE: University of Salford study of reduced energy cost from installing TRVs based on a reduction from 20degC to 18degC in rooms other than living room.
Note on U2: Author: University of Dresden research.
Note on V2: Author: SOURCE: European Environment Agency, http://www.eea.europa.eu/data-and-maps/figures/households-energy-consumption-by-end-uses-5
Note on W2: Author: Used to compare total data for robustness - Comparative source: European Environment Agency http://www.eea.europa.eu/data-and-maps/figures/households-energy-consumption-by-end-uses-4
Note on AF2: Author: SOURCE Carbon Trust energy conversion factors https://www.carbontrust.com/media/18223/ctl153_conversion_factors.pdf
Note on AI2: Author: Assumes all savings are on gas heating (other fuel sources would have higher CO2 content)
Note on AK2: Author: SOURCE: Eurostat statistics for 2015
Note on AV2: Author: Based on Ecodesign Lot 1 Preparatory study. Used to estimate number of TRVs being replaced alongside boiler replacement (option E)
Note on AW2: Author: Assumed that the majority of customers will choose the cheapest replacement option between C and D
Note on L4: Author: No data - assumed similar to France
Note on G5: Author: SOURCE: Assumed from incomplete stats from Bulgarian National Statistical Institute, Census 2011 http://episcope.eu/index.php?id=211
Note on C6: Author: SOURCE: Euroheat https://www.euroheat.org/knowledge-centre/district-energy-croatia/
Note on D6: Author: Assumed similar to Slovenia
Note on F6: Author: Assumed similar to Slovenia
Note on L6: Author: Assumed similar to Slovenia
Note on F7: Author: SOURCE: Cyprus Statistical Service, Census 2011 http://episcope.eu/building-typology/country/cy/
Note on L7: Author: Assumed similar to Greece
Note on AK7: Author: Assumed same as Greece.
Note on G8: Author: SOURCE: Episcope website, data drawn from Energy statistics, MoIT 2007. Solid fuel assumed as wood, coke or coal central heating. http://episcope.eu/building-typology/country/cz/
Note on L9: Author: Based on work done by Peter Luebke and Les Alexander in 2011
Note on G11: Author: SOURCE: Environmental Change Institute, Oxford University http://www.eci.ox.ac.uk/research/energy/downloads/countrypictures/cp_finland.pdf
Note on L11: Author: Based on work done by Peter Luebke and Les Alexander in 2011
Note on AK11: Author: Assumed same as Sweden
Note on C13: Author: SOURCE: BDEW (Federation of Energy and Water) study on the heating market, www.bdew.de
Note on F13: Author: SOURCE: BDEW (Federation of Energy and Water) study on the heating market, www.bdew.de
Note on G13: Author: SOURCE: BDEW (Federation of Energy and Water) study on the heating market, www.bdew.de
Note on F14: Author: SOURCE: Hellenic Statistical Authority -Household budget surveys, press releases (yearly, 2008-2012) http://episcope.eu/building-typology/country/gr/
Note on L14: Author: Based on work done by Peter Luebke and Les Alexander in 2011
Note on G15: Author: SOURCE: Episcope study based on Hungarian census http://episcope.eu/building-typology/country/hu/
Note on L16: Author: No data - assume similar to UK
Note on C18: Author: SOURCE: Euroheat http://www.euroheat.org/knowledge-centre/district-energy-latvia/
Note on L20: Author: Assumed between Netherlands and France
Note on F21: Author: Assumed similar to Cyprus
Note on L21: Author: Assumed similar to Greece
Note on AK21: Author: Assumed same as Greece
Note on C23: Author: SOURCE: Energy Consumption in Households in 2009, Central Statistical Office Warsaw 2012 http://stat.gov.pl/cps/rde/xbcr/gus/EE_energy_consumption_in_households_2009.pdf
Note on D23: Author: SOURCE: Energy Consumption in Households in 2009, Central Statistical Office Warsaw 2012 http://stat.gov.pl/cps/rde/xbcr/gus/EE_energy_consumption_in_households_2009.pdf
Note on F23: Author: SOURCE: Energy Consumption in Households in 2009, Central Statistical Office Warsaw 2012 http://stat.gov.pl/cps/rde/xbcr/gus/EE_energy_consumption_in_households_2009.pdf
Note on G23: Author: SOURCE: Energy Consumption in Households in 2009, Central Statistical Office Warsaw 2012 http://stat.gov.pl/cps/rde/xbcr/gus/EE_energy_consumption_in_households_2009.pdf
Note on L23: Author: SOURCE: Energy Consumption in Households in 2009, Central Statistical Office Warsaw 2012 (Figure for 2009 37% increased by 10% to reflect change over time) http://stat.gov.pl/cps/rde/xbcr/gus/EE_energy_consumption_in_households_2009.pdf
Note on L24: Author: Based on work done by Peter Luebke and Les Alexander in 2011
Note on C27: Author: SOURCE Republic of Slovenia Statistical Office http://pxweb.stat.si/pxweb/Database/Environment/18_energy/07_18154_housh_consumption/07_18154_housh_consumption.asp
Note on D27: Author: SOURCE Republic of Slovenia Statistical Office http://pxweb.stat.si/pxweb/Database/Environment/18_energy/07_18154_housh_consumption/07_18154_housh_consumption.asp
Note on F27: Author: SOURCE Republic of Slovenia Statistical Office http://pxweb.stat.si/pxweb/Database/Environment/18_energy/07_18154_housh_consumption/07_18154_housh_consumption.asp
Note on C29: Author: SOURCE: http://www.res-h-policy.eu/downloads/Swedish_district_heating_case-study_(D5)_final.pdf
Note on L29: Author: Based on work done by Peter Luebke and Les Alexander in 2011
Note on L30: Author: Source: Data from the Energy Follow-up Survey (EFUS) to the English House Condition Survey, reported in ‘How heating controls affect domestic energy demand: A Rapid Evidence Assessment’, DECC (January 2014)
Note on AD35: Author: https://ec.europa.eu/energy/en/topics/energy-efficiency/heating-and-cooling